Check list for integrating third party Equipment to BSNL Network

- Site Inspection Report

  - Install the equipment in the allocated Premise

  - Power ON

  - Product Specification

  - End to end connectivity details

  - Requirement for testing

  - Share the report duly signed by Node In Charge/DGM( attached as Annexure 1)

- Testing Committee

Testing Committee include the following officers from the below modules

  - BNG

  - RPR

  - FTTH

  - MPLS

  - Node In Charge

  - Circle/SSA Co-ordinator

- Testing of connected elements

  - Conducting  of testing as per requirement

  - Validation of testing

  - Completion of testing

- Preparation of Report

  - Report needs to be prepared as per the testing procedure

  - Sharing of report with concerned SSA

- Commissioning of Tested Equipment